|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Note:   * Orders to operate must be performed in the number sequence listed * A group of operations listed under one sequence number may be performed by any sequence * Apparatus must be in the position stated in “OPERATION” column | | | | | | | |
| Purpose of Order:  **To restore 54G1 Unit fully to service under PC14 #001143** | | | | | | | |
| **Sequence Number** | **Device** | | **Remove tag no.** | **Operation** | **Place tag no.** | | **initials** |
|  | 1b3 | |  | Check Closed |  | |  |
|  | 1b4 | |  | Check Closed |  | |  |
|  | 1b5 | |  | Check Closed |  | |  |
|  | 1B4 | |  | Close |  | |  |
|  | 1B5 | |  | Close |  | |  |
|  | 1B6 | |  | Close |  | |  |
|  | 1B7 | |  | Close |  | |  |
|  | 1B9 | |  | Close |  | |  |
|  | 1B10 | |  | Close |  | |  |
|  | 1B11 | |  | Close |  | |  |
|  | 1B12 | |  | Close |  | |  |
|  | 1B13 | |  | Close |  | |  |
|  | 1B14 | |  | Close |  | |  |
|  | 1B15 | |  | Close |  | |  |
|  | 1B19 | |  | Close |  | |  |
|  | 1B20 | |  | Close |  | |  |
|  | 1B21 | |  | Close |  | |  |
|  | 1B22 | |  | Close |  | |  |
|  | 1B23 | |  | Close |  | |  |
|  | 1B24 | |  | Close |  | |  |
|  | 1B25 | |  | Close |  | |  |
|  | 1B26 | |  | Close |  | |  |
|  | 1B27 | |  | Close |  | |  |
|  | 1B28 | |  | Close |  | |  |
| Prepared By:  **Boadu** | | Checked By: | | Ordered By: | | Completed By: | |
| Time: | | Time: | | Time: | | Time: | |
| Date: | | Date: | | Date: | | Date: | |
| Pinboard or Mimic board changed by: | | | | | | | |
|  | | | | PC 2 Serial Number: | | | |

 Serial No.: ……………… Date: ……………………… ORDER TO OPERATE (PC 17) Sheet …………… of ……….......

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Note:   * Orders to operate must be performed in the number sequence listed * A group of operations listed under one sequence number may be performed by any sequence * Apparatus must be in the position stated in “OPERATION” column | | | | | | | |
| Purpose of Order:  **To restore 54G1 Unit fully to service under PC14 #001143** | | | | | | | |
| **Sequence Number** | **Device** | | **Remove tag no.** | **Operation** | **Place tag no.** | | **initials** |
|  | 1B29 | |  | Close |  | |  |
|  | 1B30 | |  | Close |  | |  |
|  | 4B11 | |  | Close |  | |  |
|  | 4B12 | |  | Close |  | |  |
|  | 4B21 | |  | Close |  | |  |
|  | 5B12 | |  | Close |  | |  |
|  | 67S1 | |  | Close |  | |  |
|  | 67S2 | |  | Close |  | |  |
|  | 67S3 | |  | Close |  | |  |
|  | 67S4 | |  | Close |  | |  |
|  | 67S5 | |  | Close |  | |  |
|  | 67S6 | |  | Close |  | |  |
|  | 67S7 | |  | Close |  | |  |
|  | 67S8 | |  | Close |  | |  |
|  | 67S9 | |  | Close |  | |  |
|  | 67S10 | |  | Close |  | |  |
|  | 67S11 | |  | Close |  | |  |
|  | 67S12 | |  | Close |  | |  |
|  | 67S13 | |  | Close |  | |  |
|  | 67S14 | |  | Close |  | |  |
|  | 67S15 | |  | Close |  | |  |
|  | 67S16 | |  | Close |  | |  |
|  | 67S18 | |  | Close |  | |  |
|  | 67S19 | |  | Close |  | |  |
| Prepared By:  **Boadu** | | Checked By: | | Ordered By: | | Completed By: | |
| Time: | | Time: | | Time: | | Time: | |
| Date: | | Date: | | Date: | | Date: | |
| Pinboard or Mimic board changed by: | | | | | | | |
|  | | | | PC 2 Serial Number: | | | |

 Serial No.: ……………… Date: ……………………… ORDER TO OPERATE (PC 17) Sheet …………… of ……….......

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Note:   * Orders to operate must be performed in the number sequence listed * A group of operations listed under one sequence number may be performed by any sequence * Apparatus must be in the position stated in “OPERATION” column | | | | | | | |
| Purpose of Order:  **To restore 54G1 Unit fully to service under PC14 #001143** | | | | | | | |
| **Sequence Number** | **Device** | | **Remove tag no.** | **Operation** | **Place tag no.** | | **initials** |
|  | 67S20 | |  | Close |  | |  |
|  | 67S21 | |  | Close |  | |  |
|  | 67S22 | |  | Close |  | |  |
|  | 67S23 | |  | Close |  | |  |
|  | 67S24 | |  | Close |  | |  |
|  | 71S1 | |  | Close |  | |  |
|  | 71S2 | |  | Close |  | |  |
|  | 71S3 | |  | Close |  | |  |
|  | 71S4 | |  | Close |  | |  |
|  | 71S8 | |  | Close |  | |  |
|  | 54G1F | |  | Close |  | |  |
|  | 2S21S | |  | Rack – in and Close |  | |  |
|  | 3S21S | |  | Rack – in and Close |  | |  |
|  | 54SS1 | |  | Rack – in and Close |  | |  |
|  | 1S4S | |  | Rack – in and Close |  | |  |
|  | 3S5S | |  | Rack – in and Close |  | |  |
|  | 4S1 | |  | Rack – in and Close |  | |  |
|  | 4S2 | |  | Rack – in and Close |  | |  |
|  | 4S5 | |  | Rack – in and Close |  | |  |
|  | 4S7 | |  | Rack – in and Close |  | |  |
|  | 4S8 | |  | Rack – in and Close |  | |  |
|  | 4S9 | |  | Rack – in and Close |  | |  |
|  | 4S10 | |  | Rack – in and Close |  | |  |
| Prepared By:  **Boadu** | | Checked By: | | Ordered By: | | Completed By: | |
| Time: | | Time: | | Time: | | Time: | |
| Date: | | Date: | | Date: | | Date: | |
| Pinboard or Mimic board changed by: | | | | | | | |
|  | | | | PC 2 Serial Number: | | | |

 Serial No.: ……………… Date: ……………………… ORDER TO OPERATE (PC 17) Sheet …………… of ……….......

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Note:   * Orders to operate must be performed in the number sequence listed * A group of operations listed under one sequence number may be performed by any sequence * Apparatus must be in the position stated in “OPERATION” column | | | | | | | |
| Purpose of Order:  **To restore 54G1 Unit fully to service under PC14 #001143** | | | | | | | |
| **Sequence Number** | **Device** | | **Remove tag no.** | **Operation** | **Place tag no.** | | **initials** |
|  | 4S71S | |  | Rack – in and Close |  | |  |
|  | 5S1 | |  | Rack – in and Close |  | |  |
|  | 5S2 | |  | Rack – in and Close |  | |  |
|  | 5S3 | |  | Rack – in and Close |  | |  |
|  | 5S6 | |  | Rack – in and Close |  | |  |
|  | 5S10 | |  | Rack – in and Close |  | |  |
|  | 5S71S | |  | Rack – in and Close |  | |  |
|  | 54G1T1 – G | |  | Open |  | |  |
|  | 54G1T1 – T1 | |  | Close |  | |  |
|  | 54T1A – G1 | |  | Open |  | |  |
|  | 54T1A – G2 | |  | Open |  | |  |
|  | 54T1A – A | |  | Close |  | |  |
|  | 54T1A – T1 | |  | Close |  | |  |
|  | 54T1L4 – G1 | |  | Open |  | |  |
|  | 54T1L4 – G2 | |  | Open |  | |  |
|  | 54T1L4 – 4 | |  | Close |  | |  |
|  | 54T1L4 – T1 | |  | Close |  | |  |
|  | 54T1 – G1 | |  | Close |  | |  |
|  | 54T1 – G2 | |  | Close |  | |  |
|  | 54T1 – T1 | |  | Close |  | |  |
|  | 1T1W | |  | Open |  | |  |
|  | 1N1W | |  | Open |  | |  |
|  | 1N3W | |  | Open |  | |  |
|  | 1N4W | |  | Open |  | |  |
|  | 1N2X | |  | Open |  | |  |
| Prepared By:  **Boadu** | | Checked By: | | Ordered By: | | Completed By: | |
| Time: | | Time: | | Time: | | Time: | |
| Date: | | Date: | | Date: | | Date: | |
| Pinboard or Mimic board changed by: | | | | | | | |
|  | | | | PC 2 Serial Number: | | | |

 Serial No.: ……………… Date: ……………………… ORDER TO OPERATE (PC 17) Sheet …………… of ……….......

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Note:   * Orders to operate must be performed in the number sequence listed * A group of operations listed under one sequence number may be performed by any sequence * Apparatus must be in the position stated in “OPERATION” column | | | | | | | |
| Purpose of Order:  **To restore 54G1 Unit fully to service under PC14 #001143** | | | | | | | |
| **Sequence Number** | **Device** | | **Remove tag no.** | **Operation** | **Place tag no.** | | **initials** |
|  | 1N4X | |  | Open |  | |  |
|  | 1N7X | |  | Open |  | |  |
|  | 1N10W | |  | Open |  | |  |
|  | 1G10W | |  | Open |  | |  |
|  | 1G11W | |  | Open |  | |  |
|  | 1G12W | |  | Open |  | |  |
|  | 1G13W | |  | Open |  | |  |
|  | 1G14W | |  | Open |  | |  |
|  | 1G15W | |  | Open |  | |  |
|  | 1G10W | |  | Open |  | |  |
|  | 1J1W | |  | Open |  | |  |
|  | 1J2W | |  | Open |  | |  |
|  | 1J3W | |  | Open |  | |  |
|  | 1J4W | |  | Open |  | |  |
|  | 1J14W | |  | Open |  | |  |
|  | 1J16W | |  | Open |  | |  |
|  | 1J17W | |  | Open |  | |  |
|  | 1J23W | |  | Open |  | |  |
|  | 1J24W | |  | Open |  | |  |
|  | 1J1A | |  | Open |  | |  |
|  | 1J8A | |  | Open |  | |  |
|  | 1J1X | |  | Open |  | |  |
|  | 1K1W | |  | Open |  | |  |
|  | 1K4W | |  | Open |  | |  |
| Prepared By:  **Boadu** | | Checked By: | | Ordered By: | | Completed By: | |
| Time: | | Time: | | Time: | | Time: | |
| Date: | | Date: | | Date: | | Date: | |
| Pinboard or Mimic board changed by: | | | | | | | |
|  | | | | PC 2 Serial Number: | | | |

 Serial No.: ……………… Date: ……………………… ORDER TO OPERATE (PC 17) Sheet …………… of ……….......

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Note:   * Orders to operate must be performed in the number sequence listed * A group of operations listed under one sequence number may be performed by any sequence * Apparatus must be in the position stated in “OPERATION” column | | | | | | | |
| Purpose of Order:  **To restore 54G1 Unit fully to service under PC14 #001143** | | | | | | | |
| **Sequence Number** | **Device** | | **Remove tag no.** | **Operation** | **Place tag no.** | | **initials** |
|  | 1P1X | |  | Check Closed |  | |  |
|  | N2 Safety Pin | |  | Remove |  | |  |
|  | 1J2X | |  |  |  | |  |
|  | 1K1A | |  |  |  | |  |
|  | 1K3K | |  |  |  | |  |
|  | 1K6K | |  |  |  | |  |
|  | 1K8K | |  |  |  | |  |
|  | 1K9K | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
|  |  | |  |  |  | |  |
| Prepared By:  **Boadu** | | Checked By: | | Ordered By: | | Completed By: | |
| Time: | | Time: | | Time: | | Time: | |
| Date: | | Date: | | Date: | | Date: | |
| Pinboard or Mimic board changed by: | | | | | | | |
|  | | | | PC 2 Serial Number: | | | |

 Serial No.: ……………… Date: ……………………… ORDER TO OPERATE (PC 17) Sheet …………… of ……….......